MAKING A TEMPORARY WET MOUNT SLIDE:
1. Get a slide and cover slip.  Be careful they are made of glass.
2. Use a pipette to gather the specimen.  
3. Place only one or two drops of the water sample on the slide.  Less is better!
4. Pick up a cover slip by its edges and place one edge on the slide near the water drop.
5. Lower the other edge of the cover slip slowly until it covers the slide. The water will spread out under it.  If you do this too fast you will get air bubbles trapped under the cover slip.  
6. Use a paper towel to blot up any excess water around the edges.
7. You may have a few air bubbles in the slide- they should not matter, however if you have too many to see anything you will need to make a new slide.
8. To clean up the slide, simply remove the cover slip and take both it and the slide to the sink.
9. Carefully run water over them and then dry with a towel.    Don’t press too hard, they will break.
10. Put them back in there place and start again with a fresh slide.

