MICROSCOPE VOCABULARY WORDS
ARM- the vertical column (attached to the base) which contains the stage and coarse and fine adjustment knobs.

BASE- the platform of the microscope where the arm is attached.  The cord and light are attached to the base.

COARSE ADJUSTMENT KNOB- causes the stage to move up and down in order to focus the object.  It is a large knob on the side of the arm.  

EYEPIECE- the upper optical element that magnifies the image 10X. This is where you look through the microscope.
FINE ADJUSTMENT KNOB- can be found on both sides of the arm and are used to further focus the object.  

LAMP- allows light to come through the opening in the stage so that the slide can be seen.  It has an off switch.
NOSEPIECE- the revolver that carries the objectives

OBJECTIVES- the optical systems which magnify the object, normally there are three of them.  See below.
STAGE- The platform on which you will place the slide.  Normally there are stage clips located here which are used for holding the slide in place.
THE OBJECTIVES:
· Eyepiece has a power of 10 X.  This means that the eyepiece magnifies the object 10 times its normal size.  
· The objective lenses vary from 4 X up to 100 X.

· To find the power of your microscope you multiply the power of the objective by the power of your eyepiece.  

· For example:  10 X times 4 X equals 40 X.  This means that your object is magnified 40 times its actual size.  

